Scope

This procedure applies to the manufacture of Product X tablets at Site A.

Responsibilities

The Quality Control Manager shall review and approve all batch records prior to release.

Materials

The active ingredient shall be stored at 2°C to 8°C prior to use.

Material shall not be used beyond 24 months from the date of manufacture.

Assay Acceptance Criteria

Assay acceptance criterion: 95.0% to 105.0%.

Sample Preparation

Weigh 10 mg of sample and dilute to 100 mL with mobile phase.

Sample Analysis

Inject 20 microliters into the HPLC system and record the chromatogram.

Effective Date

This procedure is effective from 01 Jan 2024.

Reference Documents

Refer to the Master Calculation SOP for detailed calculation methods.

Deviation Handling

Any deviation from this procedure shall be documented and approved by the Quality Assurance Manager prior to implementation.