1.0 Scope

This procedure applies to all analytical testing performed in the QC laboratory.

2.0 Materials

The active ingredient shall be stored at 2 degrees C to 8 degrees C prior to use.

Material shall not be used beyond 24 months from the date of manufacture.

3.0 Approval

The Quality Assurance Manager shall approve results prior to release.

8.0 Deviation Handling

Any deviation from this procedure shall be documented and approved by the Quality Assurance Manager prior to implementation.