1.0 Scope

This procedure applies to all analytical testing performed in the QC laboratory.

2.0 Acceptance Criteria

Results shall conform to the limits specified in the table below.

| Parameter | Limit | Method |
| --- | --- | --- |
| Assay | 95.0% to 105.0% | HPLC |
| Water Content | NMT 0.5% | Karl Fischer |